# BRPL — AI-Powered Transformer Management System (TMS)

## Discovery Workshop — Agenda

Duration: 2 Days | Timing: 10:00 AM – 3:00 PM (2 Hrs Pre-Lunch + 2 Hrs Post-Lunch) | Participants: BRPL & DHI.AI Teams

### Workshop Objectives

- Align on current transformer monitoring practices, data sources, and known gaps.

- Validate functional requirements and AI/ML model design approach for the TMS solution.

- Finalise scoring logic, Health Index methodology, and data collection responsibilities.

- Identify open questions, decisions required, and agree on next steps / action items.

## Day 1 — Current State, Data Landscape & Requirements

| Time | Topic | Discussion Point | Client Team | Artifact | Name of Speaker |
| --- | --- | --- | --- | --- | --- |
| 10:00 AM – 10:20 AM | Welcome, Introductions & Workshop Objectives | - Attendee introductions (BRPL /and DHI.AI teams) - Purpose and expected outcomes of the discovery workshop - Recap of POC scope: IoT condition monitoring + AI/ML predictive maintenance for pilot DTs |  |  | M Kumar |
| 10:20 AM – 11:00 AM | UI / Dashboard Design & Access Requirements | - What parameters should be shown on the dashboard? - What else needs to be added in the data-entry form? - Role management (RBAC) — user roles and access levels required. - Review of functional requirements (data acquisition, thresholds, dashboards, alerts) |  |  | Shivani Jha |
| 11:00 AM – 12:00 PM | AI/ML Model Design — Discussion | - Threshold & alert engine — static and dynamic thresholds, alert taxonomy - Physics-based thermal engine — standards to be used (IEEE / IEC / IS-ISB) - Review of outcome generated by above models. - Failure prediction model — horizons, feature inputs, explainability needs - Remaining Useful Life (RUL) — approach and expected outputs Review training data created by DHI for machine learning |  | BRPL – Detail designed document (10.1.1,10.1.2,10.1.3) BRPL – Detail designed document(10.2.1,10.2.2,10.2.3,10.2.4) step13_final_transformer_test_risk_report.xl failure_risk_test_predictions.csv final_ml_dataset(input features) model_training_dataset.csv failure_risk_feature_importance.csv BRPL-Design document for model explainability transformer_final_rul final_ml_dataset.csv | Awantika Srivastava |
| 12:00 PM – 1:00 PM | Lunch Break |  |  |  |  |
| 1:00 PM – 1:40 PM | Open Questions & Data / Model Clarifications | - For RUL output, is only RUL in days/years required, or also a confidence interval and probability of end-of-life? - Historical data sheet / report requirement — configurable time period, parameters, trend records |  | transformer_final_rul.csv Smart meter.csv | Awantika Srivastava |

| Time | Topic | Discussion Point | Client Team | Artifact | Name of Speaker |
| --- | --- | --- | --- | --- | --- |
| 1:40 PM – 2:20 PM | Transformer Health Index | - Parameters, weightage and threshold limits for scoring logic - Health status classification — Serviceable / Repairable / Replaceable (or equivalent) - Alert / risk classification logic - Formula and methodology validation with BRPL Engineering |  | failure_risk_feature_importance.xls BRPL -design document threshold points. step13_final_transformer_test_risk_report BRPL – THERMAL inputs Transformer_Health_Index_Client_Explanation | Awantika Srivastava |
| 2:20 PM – 3:00 PM | Sensor Coverage & Day 1 Wrap-up | - Parameters planned to be collected by sensors or manually. - Summary of key points discussed and finalize agenda for Day 2. |  |  | M Kumar |

## Day 2 — AI/ML Models, Integration & Next Steps

| Time | Topic | Discussion Point | Client Team | Artifact | Name of Speaker |
| --- | --- | --- | --- | --- | --- |
| 10:00 AM – 10:10 AM | Recap of Day 1 & Agenda for Day 2 | - Objectives for Day 2 — AI/ML models, integration & data strategy |  |  | Alok Srivastava |
| 10:10 AM – 11:00 AM | Transformer Parameters & Criticality | - Discussion on insulation as the most critical parameter (oil, winding, body/earth) - Transformer capacitance — reference values (OEM specs / design docs / factory & site test reports) - Winding temperature — inputs required (CT current, oil temperature, thermal model) - Terminology alignment (e.g., 'Current Unbalanced' vs 'Load Unbalanced') |  |  | BRPL |
| 11:00 AM – 11:35 AM | Functional Requirements Walkthrough | - Alerting requirement — e.g., alert on tank status / data going blank - How frequently are transformer inspections currently performed? - Should oil leakage, low IR, low BDV and internal faults be treated as failure events, or only complete transformer failure? - Can transformer rating, asset ID, meter number and commissioning date be provided in a single master file? - When Smart Meter values are zero, does this indicate actual zero load or missing/communication data? |  | PREVENT_DATA_DT_INSP_SURV INSPECTION DATA (29052026) WSM DATA (29052026) Master.xlx | Awantika Srivastava |
| 11:35 AM – 12:00 PM | Current State — Transformer Monitoring Landscape | - Overview of existing monitoring tools — OPM (Online Performance Monitoring) and OMS (Oil Monitoring System) - Parameters currently tracked in OPM / OMS - Known gaps / limitations in current monitoring approach |  |  | BRPL |

| Time | Topic | Discussion Point | Client Team | Artifact | Name of Speaker |
| --- | --- | --- | --- | --- | --- |
| 12:00 PM – 1:00 PM | Lunch Break |  |  |  |  |
| 1:00 PM – 1:20 PM | Fault Detection & Advanced Requirements | - Internal transformer fault detection / repeated short-circuit condition detection - Phase-wise load unbalance calculation methodology |  | WSM.csv smart meter.csv | Awantika Srivastava |
| 1:20 PM – 1:50 PM | Integration & Data Exchange Requirements | - Communication protocol requirement — MQTT - Smart meter data via API — confirmation of integration approach - HES / MDM integration touchpoints - Data exchange formats and frequency expectations |  | smart meter smart meter | Awantika Srivastava |
| 1:50 PM – 2:20 PM | Existing Data Sources & Systems | - Historical breakdown & failure data from SAP (SAP-PM) - Data fields available: IR values, BDV values, arcing/fault data, oil leakage records, physical damage details - Smart meter data availability and role of MFM going forward - HES (Head-End System) OEMs in use and data acquisition flow - MDM (Meter Data Management) platform — current status |  | PREVENT_DATA_DT_INSP_SURV INSPECTION DATA (29052026).xlsx Smart meter | Awantika Srivastava/ BRPL |
| 2:20 PM – 3:00 PM | Tool Configurability, Data Collection & Next Steps | - Requirement for configurable test parameters, threshold modification, and alert simulation - Confirmation of data fields required (Electrical Tests, Oil & DGA, Thermal & Loading, Visual & Physical) - Data ownership, frequency of collection, and responsible teams - Summary of decisions, action item list with owners and target dates, and agreement on next steps Collect details of APIs (Smart meter and Weather data) |  | BRPL-design document PREVENT_DATA_DT_INSP_SURV INSPECTION DATA (29052026).xlsx combined_physics_features | Awantika Srivastava |

### Single Point of Contact (SPOC)

| Organisation | Name | Mobile No. |
| --- | --- | --- |
| DHI.AI | Piyush Yadav | 9389846978 |
| BRPL / BRPL |  |  |

### Notes

Client Team and Artifact columns (and Name of Speaker, where not already filled) to be completed as per final scheduling. This agenda excludes any on-site / field activities; it is scoped to discovery discussions only.